General information!

# Ipeak [A]	= peak current

Upeak [V] 	= peak voltage

Iavg. [A]	= average current		(= rms = root mean sqare )

Uavg. [V]	= average voltage		(= rms )

( current and voltage for calculating the average power

Ppeak [W]	= peak power

Pavg. [W]	= average power

ti [s]		= time of impulse

tp [s]	    	= breaktime between pulses

T [s]  		= ti + tp

f [Hz] 		= pulse frequence   	f

(		= time constant (Tau)

E[Ws,J]	= pulse energy

C [F]		= capacity (Farad )

a)  rectangle pulse:

example a)

Upeak	= 400 V

R 		=  3,2 (

f  		= 100 Hz

ti  		= 100 (s

b.)  triangle pulse		(current = voltage)

example b)

Upeak	= 400 V

R		= 3,2 (

f		= 100 Hz

ti		= 100 (s

c.)  triangular pulse power

example c)

Ppeak	=100 kW

ti		= 10 ms

T		= 10 s

# R		= 3,2 (

d.) e-function

example d)

Upeak	= 1400V

(		= 16 (s

f		= 100 Hz

## R		= 3,2 (

e.)  other pulseforms

example e)

R	= 3,2 (

E1	= 100 Ws

E2	=1500 Ws

### E3	= 350 Ws

# T	= 10 s

# Text boxes

t

U

Upeak

## T

ti

tp

E1

E2

E3

E1

E2

E1

E2

# T

# T

t

## U

t

## U

# Upeak

37% of Upeak

T

(

## T

## T

ti

tp

tp

ti

t

t

P

P

Ppeak

Ppeak

U

U

t

t

# T

# T

ti

ti

tp

tp